2. Not double blocked.          4. Piers not centered.               1. Loose frame piers.

3. Shear-wall piers missing.    5.Loose straps.                           6. Crimp seals not fully engaged.

7. Bottom board need repair.        8. Plumbing straps not 4ft.           9. Fitting on backwards