| Date: June 8, 2023 | Project: Inland Store #303 Remodel |
| --- | --- |
| Columbia County Board of Commissioners |  |
| Troy Crews |  |
| 135 NE Hernando Avenue Suite 203 |  |
| Phone: 386-755-4100 |  |
| Fax: |  |

WE PROPOSE: To furnish labor & materials to complete the following scope of work as outlined below:

INTERIOR SCOPE OF WORK

- Provide all necessary supervision and project management for project duration.

- Properly dispose of all construction debris.

- Provide design layout and plans.

- Set-up owner provided portable handicap accessible restrooms.

- Demolition of interior store walls as necessary to construct new interior design.

- Demolition of interior sales counter, flooring at sales counter, existing storage area, restrooms, beverage center, & Island center.

- Demolition existing acoustical ceiling.

- Remove existing heating & air condition duct work.

- Relocate existing gas console as required for new layout.

- Remove existing flooring and cut concrete trenches for new electrical and plumbing for new merchandising locations.

- Remove existing reach-in cooler doors, and install new cooler doors.

- Remove and demo existing circuits based on wall demolition

- Frame new 3 5/8” or 6” metal stud walls per new approved drawing.

- Install new metal door frames and solid core doors per approved drawings & finish paint.

- Frame new drywall ceilings in restrooms, with drywall finish

- Install new insulation in all walls.

- Install spray foam insulation around perimeter of front and back walls.

- Install Dens-Shield backer board to all restroom walls and walls where FRP panels are being installed.

- Install drywall with finish in all walls not receiving ceramic tile or FRP panels, and finish paint.

- Install new millwork in restrooms, sales counter, beverage center, Island counter, all tops to be Quartz.

- Install new Vinyl tile walls and floors in new restrooms.

- Install new FRP in Storage Area, Food Prep Deli and Managers Office.

- Install new plumbing fixtures in restrooms, Prep Room and water connections at Beverage Center and Island Counter per approved drawings.

- Install new 1.5” water line to store.

- Install all new restroom fixtures and accessories.

- Install new backflow assembly

- Install new grease tank

- Connect piping to new grease tank.

- Install 400’ of new PVC sanitary and grease pipping and cleanouts.

- Cast in Place Concrete in the restrooms and floor trenches.

- Install new 12.5 Ton A/C system with new duct system, and exhaust system in restrooms.

- Install new kitchen hood system.

- Install new electrical circuits and alterations

- Install Resinous Flooring in Prep Room and Backroom.

- Install new acoustical grid and tile system in store sales area, ice maker room, office and prep room.

- Paint interior exposed drywall, frames and doors.

EXTERIOR SCOPE OF WORK

- Demo planters and pour back concrete

- Install Pipe Bollards at front of store and around freezer cooler units.

- Striping and install new parking bumpers in parking lot.

- New Membrane Roof - TPO

Total 838,005.76

Respectfully Submitted,

Joey Pearson

License Number CBC057550