## Additions field values
QuestionLabel | FieldValue
CONSTRUCTION DETAILS
ROOF OPTIONS
Description of addition: | Detached Garage
Select driveway access to property: | Existing Drive
Fire sprinklers? | No
If Yes, Blueprints included?
Setbacks Front | 30'
Setback Side 1 | 25'
Setback Side 2 | 25'
Setback Rear | 25'
Stories | 2
Heated Area (Sqft) | 504
Total Area (Sqft) | 1782
Total Estimated Cost | 60000
Zoning Applications applied for:
Building Height | 22
Building Code Construction Type | III
Building Code Element | B
Building Code Occupancy Types | Storage
Occupancy Use Title | garage
Site Plan Setbacks Front | 180'
Site Plan Setback Side 1 | 54'
Site Plan Setback Side 2 | 100'+
Site Plan Setbacks Rear | 100'+
Dev Permit # | F023-
Design Occupant Load
Building Code Edition | 2020 Florida Building Code 7th Edition and 2017 National Electrical Code
Septic# (00-0000) or (X00-000) | N/A
Power Company | Clay Elec.
Is this an addition for commercial or residential use? | Residential
Sealed roof decking options. (Must select one.) | two layers of felt underlayment comply ASTM 0226 Type II or ASTM D4869 Type Ill or IV, or two layers of a synthetic underlayment meeting the performance requirements specified, lapped and fastened as specified.
Sealed roof decking explanation for other option.
Service Amps | 100
Estimated Plumbing Cost | 0.00
Estimated Electrical Cost | 0.00
Estimated Mechanical Cost | 0.00