Scope of Work

1.  Remove and replace the existing devices with new Tamper-Resistance, AFCI/GFCI-protected receptacles and wall cover plates

2.  Remove and replace the existing toggle switches and wall cover plates.

3.  Install a new 30A 240v 4-wire circuit for a wall oven