## Additions field values
QuestionLabel | FieldValue
CONSTRUCTION DETAILS
ROOF OPTIONS
Description of addition: | Install a 30kw diesel generator with base fuel tank on a 4'x10' concrete pad.
Select driveway access to property: | Existing Drive
Fire sprinklers? | No
If Yes, Blueprints included? | No
Setbacks Front
Setback Side 1
Setback Side 2
Setback Rear
Stories | 0
Heated Area (Sqft) | 0
Total Area (Sqft) | 0
Total Estimated Cost | 10000
Zoning Applications applied for:
Building Height | 0
Building Code Construction Type
Building Code Element
Building Code Occupancy Types
Occupancy Use Title
Site Plan Setbacks Front | +100
Site Plan Setback Side 1 | +100
Site Plan Setback Side 2 | +100
Site Plan Setbacks Rear | +100
Dev Permit # | F023-
Design Occupant Load
Building Code Edition | 2020 Florida Building Code 7th Edition and 2017 National Electrical Code
Septic# (00-0000) or (X00-000)
Power Company | FL Power and Light
Is this an addition for commercial or residential use? | Commercial
Sealed roof decking options. (Must select one.) | N/A
Sealed roof decking explanation for other option.